## Sheet1
ComsFail | Proxy device is not being accessed by the master |  |  |  |  | R | BOOL | Fault
online | Device is online |  |  |  |  | R | BOOL | LINESTATUS
Chiller 1 Software Lockout |  | 40001 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 1 Fault |  | 40002 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 1 Status Fail |  | 40003 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 1 Pump Fail |  | 40004 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Software Lockout |  | 40005 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Fault |  | 40006 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Status Fail |  | 40007 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Pump Fail |  | 40008 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Mini Chiller 3_5_6 Fault |  | 40020 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Sewer Pump 1 Failure |  | 40030 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Sewer Pump 2 Failure |  | 40031 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Sewer Pump Hi Level |  | 40032 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Rainwater Pump 1 Failure |  | 40033 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Rainwater Pump 2 Failure |  | 40034 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Rainwater Pump Low Level |  | 40035 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_01_A Surge Arrestor |  | 40040 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_01_B Surge Arrestor |  | 40041 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_01_B1 Surge Arrestor |  | 40042 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_02_A Surge Arrestor |  | 40043 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_02_C Surge Arrestor |  | 40044 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_02_D Surge Arrestor |  | 40045 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 1 Fault |  | 40050 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 1 Emergency Stop |  | 40051 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 1 Water Detection |  | 40052 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 2 Fault |  | 40053 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 2 Emergency Stop |  | 40054 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 2 Water Detection |  | 40055 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 4 Fault |  | 40056 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 4 Emergency Stop |  | 40057 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 4 Water Detection |  | 40058 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 5 Fault |  | 40059 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 5 Emergency Stop |  | 40060 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 5 Water Detection |  | 40061 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 6 Fault |  | 40062 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 6 Emergency Stop |  | 40063 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 6 Water Detection |  | 40064 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 7 Fault |  | 40065 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 7 Emergency Stop |  | 40066 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 7 Water Detection |  | 40067 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 8 Fault |  | 40068 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 8 Emergency Stop |  | 40069 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 8 Water Detection |  | 40070 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 9 Fault |  | 40071 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 9 Emergency Stop |  | 40072 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 9 Water Detection |  | 40073 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 10 Fault |  | 40074 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 10 Emergency Stop |  | 40075 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 10 Water Detection |  | 40076 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 11 Fault |  | 40077 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 11 Emergency Stop |  | 40078 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 11 Water Detection |  | 40079 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 1 Out of Service |  | 40090 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 2 Out of Service |  | 40091 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 3 Out of Service |  | 40092 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 4 Out of Service |  | 40093 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 5 Out of Service |  | 40094 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 6 Out of Service |  | 40095 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 7 Out of Service |  | 40096 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 2 Water Detected |  | 40097 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 3 Water Detected |  | 40098 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 4 Water Detected |  | 40099 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 5 Water Detected |  | 40100 | 16 bit Unsigned | 1 | 0 | R | INTEGER