## Sheet1
ComsFail | Proxy device is not being accessed by the master |  |  |  |  | R | BOOL | Fault
online | Device is online |  |  |  |  | R | BOOL | LINESTATUS
Chiller 1 Software Lockout |  | 1 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 1 Fault |  | 2 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 1 Status Fail |  | 3 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 1 Pump Fail |  | 4 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Software Lockout |  | 5 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Fault |  | 6 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Status Fail |  | 7 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Chiller 2 Pump Fail |  | 8 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Mini Chiller 3_5_6 Fault |  | 20 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Sewer Pump 1 Failure |  | 30 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Sewer Pump 2 Failure |  | 31 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Sewer Pump Hi Level |  | 32 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Rainwater Pump 1 Failure |  | 33 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Rainwater Pump 2 Failure |  | 34 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Rainwater Pump Low Level |  | 35 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_01_A Surge Arrestor |  | 40 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_01_B Surge Arrestor |  | 41 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_01_B1 Surge Arrestor |  | 42 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_02_A Surge Arrestor |  | 43 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_02_C Surge Arrestor |  | 44 | 16 bit Unsigned | 1 | 0 | R | INTEGER
ES_DB_02_D Surge Arrestor |  | 45 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 1 Fault |  | 50 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 1 Emergency Stop |  | 51 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 1 Water Detection |  | 52 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 2 Fault |  | 53 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 2 Emergency Stop |  | 54 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 2 Water Detection |  | 55 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 4 Fault |  | 56 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 4 Emergency Stop |  | 57 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 4 Water Detection |  | 58 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 5 Fault |  | 59 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 5 Emergency Stop |  | 60 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 5 Water Detection |  | 61 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 6 Fault |  | 62 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 6 Emergency Stop |  | 63 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 6 Water Detection |  | 64 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 7 Fault |  | 65 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 7 Emergency Stop |  | 66 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 7 Water Detection |  | 67 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 8 Fault |  | 68 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 8 Emergency Stop |  | 69 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 8 Water Detection |  | 70 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 9 Fault |  | 71 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 9 Emergency Stop |  | 72 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 9 Water Detection |  | 73 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 10 Fault |  | 74 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 10 Emergency Stop |  | 75 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 10 Water Detection |  | 76 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 11 Fault |  | 77 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 11 Emergency Stop |  | 78 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Escalator 11 Water Detection |  | 79 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 1 Out of Service |  | 90 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 2 Out of Service |  | 91 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 3 Out of Service |  | 92 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 4 Out of Service |  | 93 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 5 Out of Service |  | 94 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 6 Out of Service |  | 95 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 7 Out of Service |  | 96 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 2 Water Detected |  | 97 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 3 Water Detected |  | 98 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 4 Water Detected |  | 99 | 16 bit Unsigned | 1 | 0 | R | INTEGER
Lift 5 Water Detected |  | 100 | 16 bit Unsigned | 1 | 0 | R | INTEGER